[image: image11.png]


 Parliament of Australia

 Department of Parliamentary Services  

Parliament House 2006–07 Environmental Performance Report

Table of contents

1Introduction

Materials
2
EN 1 Total materials use other than water, by type
2
EN 2 Percentage of materials used that are wastes (processed or unprocessed) from sources external to the reporting organisation.
2
Energy
2
EN 3 Direct energy use segmented by primary source
2
EN 4 Indirect energy use
6
Water
6
EN 5 Total water use
6
Biodiversity
8
EN 6 Location and size of land owned, leased, or managed in biodiversity-rich habitats
8
EN 7 Description of the major impacts on biodiversity associated with activities and/or products and services in terrestrial, freshwater, and marine environments
8
Emissions, effluents and waste
8
EN 8 Greenhouse gas emissions
8
EN 9 Use and emissions of ozone depleting substances
9
EN 10 NOx, SOx, and other significant air emissions by type
10
EN 11 Total amount of waste by type and destination
11
EN 12 Significant discharges to water by type
13
EN 13 Significant spills of chemicals, oils, and fuels in terms of total number and total volume
14
Products and services
14
EN 14 Significant environmental impacts of principal products and services
14
EN 15 Percentage of the weight of products sold that is reclaimable at the end of the products’ useful life and percentage that is actually reclaimed
14
Compliance
14
EN 16 Incidents of and fines for non-compliance with all applicable international declarations/conventions/treaties, and national, sub-national, regional, and local regulations associated with environmental issues.
14




Introduction

1 Information in this report is structured using the core Global Reporting Initiative (GRI) environment performance indicators as a framework (www.globalreporting.org). The GRI is an independent institution whose mission is to develop and disseminate globally applicable sustainability reporting guidelines. These guidelines are for voluntary use by organisations for reporting on the economic, environmental and social dimensions of their activities, products and services.  

2 In this report, the Department of Parliamentary Services (DPS) addresses the environmental indicators relevant to its functions (indicators are prefixed with “EN”). DPS has reported against these indicators since 2003-04.
3 The role of DPS is to provide building management services and facilities for members of both legislative chambers, for parliamentary departments, and other users of the Parliamentary buildings and precincts. Parliament House is a building where more than 3,500 people work on sitting days, and which around 900,000 people visit each year. DPS has approximately 860 staff and an annual budget of around $135m.  

4 This report covers the three Departments within Parliament House. In addition to DPS, the Department of the Senate and the Department of the House of Representatives each has approximately 160 staff.

Materials

EN 1 Total materials use other than water, by type

5 Parliament House uses a wide variety of materials to support the efficient functioning of Parliament. Some of the items that have an impact on the environment are paper, fertiliser, IT equipment and chemicals. The number of separate organisations occupying Parliament House and the diverse functions they perform prevents DPS gathering accurate data against this indicator.

6 A measure taken to minimise the impact of materials use on the environment was considering energy efficiency ratings in purchasing decisions, including when the Department of the Senate replaced cocktail refrigerators in office suites with the highest energy-rated models (three star). Drivers of departmental vehicles were also encouraged to purchase “E10” petrol (10% ethanol blended) wherever possible.

7 Paper for printing press clippings was changed to recycled paper.  
EN 2 Percentage of materials used that are wastes (processed or unprocessed) from sources external to the reporting organisation.

8 A small proportion of copy paper used had recycled content. 

9 During 2006–07, DPS purchased 817.6 cubic metres of compost and mulch. This material was produced from organic waste.
Energy

EN 3 Direct energy use segmented by primary source
10 Each year, DPS is required by the Energy Efficiency in Government Operation’s Policy to report comprehensively on its energy consumption to the Australian Greenhouse Office (www.greenhouse.gov.au/government/energyuse/). DPS’s energy profile is comprised of energy consumed at Parliament House, transport energy, and the electricity used at leased office space in West Block, a building located near Parliament House. DPS vacated the West Block building during the last quarter of 2006-07.
11 Table 1 summarise energy use for each of these components in 2006–07.

Table 1: Energy consumed at Parliament House, West Block offices and by transport

	Activity
	Energy type/indicator
	Value

	Parliament House building
	Electricity (kWh) 
	26,106,721 
(93,984GJ)

	
	Natural Gas (GJ) 
	45,382

	
	Diesel (Generators & Boilers)(kL) 
	12 

(480GJ)

	
	Green energy (kWh) 
	6,526,680

	
	Total GJ 
	139,846

	
	Area (m²) 
	152,000

	
	MJ/Area (m²)/annum 
	920

	West Block office (tenant light and power)
	Electricity (kWh) 
	272,690

	
	Green energy (kWh) 
	21,815

	
	Total GJ 
	982

	
	Occupancy (People) 
	74

	
	Area (m²) 
	2,294

	
	MJ/Occupancy (People)/annum 
	13,266

	
	MJ/Area (m²)/annum 
	428

	
	m²/person 
	31

	Passenger vehicles
	LPG (kL) 
	5

	
	Petrol (kL) 
	59

	
	E-10 (kL) 
	6

	
	Total GJ 
	2,336

	Other transport (truck, gardening equipment and forklifts)
	Automotive Diesel (kL) 
	8

	
	LPG (kL) 
	2

	
	Petrol (kL) 
	3

	
	Total GJ 
	472

	Total for Parliament House, West Block Office, Passenger Vehicles and Other Transport (GJ)
	143,636


12 Table 1 shows that electricity and gas consumption at Parliament House comprised 97% of total energy use (139,366 of 143,636GJ).  Gas is used for heating, domestic hot water and catering equipment. Electricity is used to provide a variety of services including office lighting, power, mechanical services, lifts, chillers, computer equipment, catering equipment, water features, central waste plant and boosted hot water heating. 

Performance overview

13 During 2006–07, the primary energy used within Parliament House (electricity and gas) was 139,366 GJ, which is 1.3% lower than the electricity and gas consumed in 2005–06. Initiatives to conserve electricity included the continual monitoring and adjustment of the high electrical load plant, implementing more energy-efficient lighting schemes, and a trial of reduced airconditioning in summer.
14 Twenty-five percent, or 6,526,680 kWhrs, of total electricity consumption at Parliament House was from “new” green (renewable) and “old” green (Snowy Hydro) energy. This contributed to reducing greenhouse gas emissions (see paragraph 35).
15 Since Parliament House was opened in 1988, DPS has achieved the following results;
(a) electricity reduction of 39.7%;
(b) gas reduction of 74.54%;
(c) carbon dioxide emission equivalent reduction of 52.4%; and
(d) energy (electricity and gas) consumption reduction of 58.3%.
16 The reduction in electricity and gas consumption is shown in Figure 1. 
Figure 1: Annual electricity and gas consumption
[image: image1.png]PARLIAMENT HOUSE - TOTAL ENERGY CONSUMPTION

B Electricity

200z/900
002/5007
SO0Z/YO0C
YO0Z/ED0
E00Z/2007
Zonz/ 100z
1002/0002
onoziesal &
6661/9861 B4
866L/2661 =
2661/9661 m
966115661 m
SE6H/YE6) I
VEBL/EBEL
£661/2661
66111661
1661/0661
0e6L/E8EL

6a61/861





Parliament House’s vehicle fleet consisted of 46 leased vehicles in 2006‑07. This included vehicles disposed of when leases expired, new vehicles leased, and vehicles gained and lost with staff movements during the year. There were fifteen general pool vehicles in Parliament House’s fleet. 
17 In 2003 the Government agreed on an environmental target which aims for 28% of government pool vehicles to have scores in the top half of the Green Vehicle Guide
 by December 2005.
18 Two vehicles in Parliament House’s total fleet scored higher than 10 in the Green Vehicle Guide and one of these was a pool vehicle. This represents 7% of general pool vehicles scoring higher than 10.
Electricity consumption

19 Electricity consumption during 2006–07 was 26,106,721 kWhrs, an increase of 0.03% compared with 2005–06 (Figure 2).
20 Electricity consumption is approximately 40% higher on a sitting day (meaning a day when the Parliament meets) compared with a non-sitting day. As there were 71 sitting days in 2006–07, which is four more days compared to 2005–06, a small increase in electricity consumption is a reasonable result.  
Figure 2: Annual electricity consumption and charges

[image: image2.emf]ELECTRICITY CONSUMPTION AND CHARGES

5

10

15

20

25

30

35

40

45

50

1988/19891989/19901990/19911991/19921992/19931993/19941994/19951995/19961996/19971997/19981998/19991999/20002000/20012001/20022002/20032003/20042004/20052005/20062006/2007

FINANCIAL YEAR

CONSUMPTION (GWhr)

0.0

0.5

1.0

1.5

2.0

2.5

3.0

3.5

4.0

4.5

COST (MILLIONS)

Consumption Cost


Gas Consumption 

21 Gas consumption during 2006–07 was 45,382 GJ, a reduction of 4% compared to the previous year (47,307GJ) (Figure 3).
22 Gas consumption is approximately 35% higher on a sitting day compared with a non-sitting day. As there were four more sitting days in 2006–07 (see paragraph 21) a reduction in gas consumption is believed to be the result of milder winter weather and consequently a lower demand for heating.
Figure 3: Annual gas consumption and charges 


[image: image3.wmf]GAS CONSUMPTION AND CHARGES

20

40

60

80

100

120

140

160

180

200

1988/1989

1989/1990

1990/1991

1991/1992

1992/1993

1993/1994

1994/1995

1995/1996

1996/1997

1997/1998

1998/1999

1999/2000

2000/2001

2001/2002

2002/2003

2003/2004

2004/2005

2005/2006

2006/2007

FINANCIAL YEAR

CONSUMPTION (TJ)

0.0

0.2

0.4

0.6

0.8

1.0

1.2

1.4

1.6

1.8

COST (MILLIONS)

Consumption

Cost


EN 4 Indirect energy use
23 Indirect energy refers to the total amount of energy used to provide electricity to Parliament House. It is made up of two components: 
(a) combustion of fuel to produce the electricity Parliament House uses;  and

(b) energy used to extract the fuel and lost in delivery of electricity to Parliament House. 
24 In 2006–07, 75% of Parliament House’s electricity (19,580,041kWhrs) came from coal-fired power stations (the remainder was from renewable sources, including 15% produced from hydropower).
25 The indirect energy consumption for Parliament House in 2006–07 was                219,005GJ. The factor used to calculate indirect energy was based on the National Greenhouse Gas Inventory 2002 (Table 4-19) published by the Australian Greenhouse Office.
Water

EN 5 Total water use

26 Water consumption for 2006–07 was 224,006 kL. This was a 17% decrease in water consumption compared to the previous year (270,421kL). The majority of water-saving initiatives undertaken were related to reducing landscape irrigation and turning off water features. These measures were taken to comply with Australian Capital Territory (ACT) water restrictions.
27 In November 2006, the ACT authorities introduced Stage 2 water restrictions. These were upgraded to Stage 3 restrictions in December 2006. Under Stage 3 restrictions, DPS was expected to reduce its water use by 35% of its use for the equivalent season in 2005–06. 
28 The most significant water savings have been made in the Parliament House landscape. All 20 external water features in and around Parliament House have been turned off and emptied. Annual flower displays were not planted, and watering has been severely restricted in the grounds beyond Parliament Drive.
29 The consumption of water can be attributed to the following categories shown in Figure 4. “Other building water” includes the cold water used in bathrooms, kitchens and the swimming pool and the “flushometer” category refers to the water used for flushing toilets and urinals.
Figure 4: Water use during 2006–07
[image: image4.emf]Irrigation

64%

Domestic hot water

4%

Boosted hot water

1%

Flushometer

11%

Water features

2%

Cooling tower

8%

Other building water

10%


30 The following graph shows the consumption of water since the building was opened in 1988 (Figure 5). The consumption of water in 2006–07 was the fifth lowest since the building opened in 1988.
Figure 5: Annual water consumption 

[image: image5.emf]251,326

325,476

476,908

429,886

324,924

304,263

308,222

349,451

238,519

207,461

212,725

222,368

255,538

285,745

277,709

238,164

194,694

270,421

224,006

0

100,000

200,000

300,000

400,000

500,000

600,000

1988-89 1989-90 1990-91 1991-92 1992-93 1993-94 1994-95 1995-96 1996-97 1997-98 1998-99 1999-2000 2000-01 2001-02 2002-03 2003-04 2004-05 2005-06 2006-07

Water Consumption (kL)


Biodiversity

EN 6 Location and size of land owned, leased, or managed in biodiversity-rich habitats

31 During 2006–07, DPS did not own or lease any land in biodiversity rich habitats.

EN 7 Description of the major impacts on biodiversity associated with activities and/or products and services in terrestrial, freshwater, and marine environments

32 During the year, there were no major impacts on biodiversity associated with activities and/or products and services in terrestrial, freshwater, and marine environments.
Emissions, effluents and waste

EN 8 Greenhouse gas emissions

33 DPS is a member of the Greenhouse Challenge Plus program and has reported on greenhouse gas emissions since 1997 (see www.greenhouse.gov.au/challenge). 
34 During 2006–07, 24,290 tonnes carbon dioxide equivalent
 (CO2-e) were generated from energy consumption at Parliament House, the West Block office tenancy and transport energy (energy use in these sectors is described in Table 1).

35 The majority of these emissions, 24,147 tonnes CO2-e, were the result of consumption of electricity and gas at Parliament House. This amount was a 13% decrease in emissions compared with 2005–06 performance (27,891 tonnes CO2-e from gas and electricity use). 
36 Figure 6 shows annual greenhouse gas emissions from Parliament House electricity and gas consumption since the building was opened in 1988.

Figure 6: Annual greenhouse gas emissions (from electricity and gas consumption)

[image: image6.wmf]PARLIAMENT HOUSE - TOTAL CARBON DIOXIDE EMISSIONS

10

20

30

40

50

60

1988/1989

1989/1990

1990/1991

1991/1992

1992/1993

1993/1994

1994/1995

1995/1996

1996/1997

1997/1998

1998/1999

1999/2000

2000/2001

2001/2002

2002/2003

2003/2004

2004/2005

2005/2006

2006/2007

FINANCIAL YEAR

CARBON DIOXIDE (KTonnes)

Savings due

to Purchase

of Green

Energy

Electricity

Gas


EN 9 Use and emissions of ozone depleting substances

37 Parliament House uses refrigerants that contain ozone depleting substances. These are used for:

(a) chillers, which provide cooling for the building’s air conditioning; 

(b) coolrooms;

(c) freezers; and

(d) refrigerators.
38 Table 2 shows the quantity and “ozone depletion potential” of refrigerants used in 2006–07.
Table 2: Quantity and “ozone depletion potential” of refrigerants used in 2006–07
	Refrigerant
	Qty Used (kg)
	Ozone Depletion Potential
	CFC-11 equivalent (kg)
	CO2 equivalent (Kg)

	404A
	64
	0
	0
	208,640

	R409A
	22
	0.048
	1.056
	34,320

	R134a
	65
	0
	0
	84,500

	SPE34E
	22
	0
	0
	28,160

	Total
	173
	
	
	355,620


39 Parliament House used 21 kg more refrigerant in 2006–07 than the previous year. This is the first reporting period that tonnes CO2-e have been calculated for refrigerant use. 
EN 10 NOx, SOx, and other significant air emissions by type

40 The combustion of natural gas for heating, hot water and cooking purposes generated oxides of nitrogen (NOx), oxides of sulfur (SOx) and other air pollutants from Parliament House. Each year, DPS reports on these emissions to the National Pollution Inventory (www.npi.gov.au). Table 3 lists the quantity of air pollutants emitted from combustion of natural gas in 2006–07.

Table 3: Emissions of air pollutants from natural gas consumption in 2006–07
	Substance
	Total emissions (kg)

	Carbon monoxide
	1,800

	Oxides of nitrogen
	2,100

	Particulate matter (PM10)
	160

	Total Volatile organic compounds
	110

	Sulfur dioxide
	11

	Polycyclic aromatic hydrocarbons
	<1 (0.014)


EN 11 Total amount of waste by type and destination

Waste to landfill
41 The amount of general waste sent to landfill was 427 tonnes in 2006–07, which is 10% less waste disposed than the year before (475 tonnes) (Figure 7). Waste disposed to landfill includes all general waste sent to landfill from the operations of Parliament House. It does not include waste generated from large construction projects or landscape waste.
Figure 7: Annual general waste disposed to landfill 

[image: image7.png]700
600
500

@ 400

é 300

200

100

646
584 “\

645 644
625 610
482 475
||| ||| |

1998-99 1999-
2000

2000-01 2001-02 2002-03 2003-04 2004-05 2005-06 2006-07





Recycled Waste

42 Wastes recycled at Parliament House are paper, cardboard, co-mingled materials, printer cartridges, lamps, used oil, grease, batteries, landscape and construction waste (eg metal).
43 Recycled paper waste is defined as recycled paper, cardboard and classified paper waste.  The quantity of recycled paper waste was 279 tonnes in 2006–07, which is a decrease of 24% compared to 2005–06 (345 tonnes) (Figure 8).  DPS believes that the paper recycling rate can be increased with a strategy to increase awareness of the Parliament House paper recycling system.
Figure 8: Annual recycled paper waste
[image: image8.png]400
350

300

250
@ 200
g
150
S
100
50
0 ‘ ‘ ‘ ‘ ‘ : : :

1998-99 1999- 2000-012001-02 2002-03 2003-04 2004-05 2005-06 2006-07
2000





44 Printer cartridge recycling facilities enabled 1,747 kg of toner cartridges being recycled from Parliament House (an increase of approximately 11 kg compared to 2005–06). Cartridge recycling facilities in electorate offices resulted in 3,300kg of cartridges being recycled, which is an increase of approximately 846 kg or 34% compared to 2005–06. This resulted in more than five tonnes of cartridge materials being diverted from landfill (shown in Figure 9).
Figure 9: Annual cartridge recycling for Parliament House and electorate offices 

[image: image9.emf]0

1000

2000

3000

4000

5000

6000

2003-04 2004-05 2005-06 2006-07

Kilograms

Electorate Offices

Parliament House


45 The recycling of lamps, grease, used oil, metals and batteries, glass and some commingled material added to recycling results at Parliament House.

Landscape Waste

46 The preferred method for disposing of green waste at Parliament House is to chip the material on-site and re-use in the landscape. The amount of chipped material is not recorded. When waste generated in the landscape cannot be chipped on-site (due to volume, composition or resources) then the material is taken off-site to be recycled or disposed to landfill. The total waste taken off-site is recorded and reported as “landscape waste”. 

47 During 2006–07, 205 tonnes of landscape waste
 was generated from the Parliament House landscape. Ninety-five per cent of the landscape waste went to a recycling facility. The remainder, comprising of non-biodegradable materials, was disposed to landfill. 
48 Figure 10 shows trends in landscape waste and recycling since the building opened in 1988.
Figure 10: Annual landscape waste recycled off-site and disposed to landfill
[image: image10.emf]Landscape Waste

0

200

400

600

800

1,000

1,200

1,400

1998-99 1999-2000 2000-01 2001-02 2002-03 2003-04 2004-05 2005-06 2006-07

Years

Tonnes

Total

Landscape

Waste

Waste to

Recycling

Landscape

Waste to

Landfill


EN 12 Significant discharges to water by type

49 Based on water consumed for purposes other than irrigation, it is estimated that 80 ML is discharged into the sewerage system (actual discharge is not monitored). The sewerage is required under a trade waste agreement to be equivalent to domestic strength. There are a number of installed systems to control trade waste from entering the sewerage system. These include:

(a) grease traps on all of the kitchens (which are cleaned out every three months);

(b) coalescing plate filter on the vehicle washdown bay (to prevent oil from entering the sewer); and

(c) system to remove paint solids from paint brush washing facilities before they enter the sewer.
50 There was no measurable leachate runoff from the site into the surrounding waterways during the reporting period.

EN 13 Significant spills of chemicals, oils, and fuels in terms of total number and total volume

51 In 2006–07 there were no spills of chemicals, oils and fuels from Parliament House.

52 Procedures are in place to minimise the risk of such incidents occurring and necessary materials are maintained in strategic areas throughout the parliamentary precincts to manage such an incident should it occur. 

Products and services

EN 14 Significant environmental impacts of principal products and services

53 During 2006–07 Parliament House did not produce any products or services that had significant environmental impacts.

EN 15 Percentage of the weight of products sold that is reclaimable at the end of the products’ useful life and percentage that is actually reclaimed

54 During 2006–07 Parliament House did not sell any products that are reclaimable at the end of the product’s useful life.
Compliance

EN 16 Incidents of and fines for non-compliance with all applicable international declarations/conventions/treaties, and national, sub-national, regional, and local regulations associated with environmental issues.

55 During 2006–07 there were no instances of fines for non compliance with any regulations associated with environmental issues.















� The Australian Greenhouse Office maintains the on-line Green Vehicle Guide (GVG) (� HYPERLINK "http://www.greenvehicleguide.gov.au" ��www.greenvehicleguide.gov.au�) to provide objective information about the environmental performance of vehicles. The guide scores vehicles out of 20 based on air pollution, greenhouse emissions and fuel consumption. The better the performance of a vehicle in these areas, then the higher its score. The environmental target for government pool vehicles is set in the Environmental Strategy for the Motor Vehicle Industry (�HYPERLINK "www.greenhouse.gov.au/transport/env_strategy.html" \l "commonwealth"��www.greenhouse.gov.au/transport/env_strategy.html#commonwealth�).


� Carbon dioxide equivalent, CO2-e, is an internationally accepted measure that expresses the amount of global warming of greenhouse gases in terms of the amount of carbon dioxide (CO2) that would have the same global warming potential.


� Landscape waste is recorded and monitored separately from general waste (paragraph � REF _Ref185667082 \r \h � \* MERGEFORMAT �42�). It comprises the waste generated in the landscape that is taken off-site to be recycled or landfilled.








	


	Parliament House

Canberra ACT 2600

Telephone: (61) 02 6277 7111
	ABN 52 997 141 147


4
Annual_Environmental_Report_2006-07 v2.doc

_1259150958

_1259416824

_1259038985

