## As-Constructed document checklist for external contractors

| Project Details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project No:…………................................. | Project Title:…………………………….………………………………………………………. |  |  |  |  |
| Project Manager:……….………………………………………………. |  |  | Contractor:…………………………….………………………………… |  |  |
| Documentation Status: Draft: Final: |  |  |  | Date: ….…/..…/……… |  |
| Manual/s |  |  |  |  | Yes, No, N/A |
| An overall description of the installation, defining its role, method and principle of operation and the relationships to interfacing systems. |  |  |  |  |  |
| List of all applicable drawings, standards, and specifications. |  |  |  |  |  |
| Master list of all installed plant and equipment including: - Type, model number, equipment and/or technical identification, and installation location. - Equipment brochures and manual(s) showing technical specifications, applications, installation notes, operating and maintenance instructions, options, and accessories. Where generic brochures are provided, the actual model(s) installed must be identified. - Factory, laboratory, or site test certificates. - Overhaul and repair procedures including tools, equipment and consumables required. |  |  |  |  |  |
| For the plant, equipment, and system: - Defect Liability periods. - Warranty periods and conditions. - Initial maintenance arrangements/agreements details. - Statutory and manufacturer’s recommended routine maintenance tasks and their frequencies. - The name, address, phone number, fax numbers and email address of manufacturers, distributors, and local agents. - Safety procedures and precautions including environmental aspects and impacts. - Full parts lists of all equipment and a list of recommended spares holdings. - Operational procedures (start, stop, monitoring, alarm response etc.). - Commissioning tests and results. - Compliance registrations and certificates. |  |  |  |  |  |
| Any supplementary instructions, charts, software, etc. to permit a full understanding of the installation to allow correct use, operation, and maintenance. |  |  |  |  |  |
| PDF copies of all documents in electronic format. Multimedia storage device labelled. |  |  |  |  |  |
| Drawings |  |  |  |  | Yes, No, N/A |
| Title Block correctly completed and signed off. |  |  |  |  |  |
| CAD and PDF copies of all drawings in electronic format. Multimedia storage device labelled. |  |  |  |  |  |
| Equipment installation arrangements/locations overlayed on the architectural floor plan including equipment identification and/or technical identification numbers. |  |  |  |  |  |
| Drawings indicating all removals of plant, equipment, building structures and fittings. |  |  |  |  |  |
| Circuit/wiring diagrams for electrical installations and board/circuit schedules. |  |  |  |  |  |
| Control & logic diagrams for electrical, electronic & pneumatic, HVAC control systems. |  |  |  |  |  |
| Signatures |  |  |  |  |  |
| I certify that all the above information supplied is a true and accurate reflection of the completed works. |  |  |  |  |  |
| Certified by Contractor Signature:………...……………………………………...…… |  | Company Name:…………………………………………………………………. Print Name:……………………………………………… Date: ..../..../.…… |  |  |  |
| Verified by Project/Contract Manager Signature:……………...…………………………………..…… |  | Company Name:…………………………………………………………………. Print Name:……………………………………………… Date: ..../…./.…... |  |  |  |
| Verified by DPS Project/Contract Manager Signature:……………...…………………………………..…… |  | Department of Parliamentary Services Print Name:……………………………………………… Date: ..../…./.…... |  |  |  |