[image: image1.png]Ol

MASTER BUILDERS
AUSTRALLA

ECELWE ’-""‘"'"—"

O HAR 208

av‘,h‘“‘





19 March 2009

The Hon Mark Dreyfus QC MP

Chair, Standing Committee on Legal & Constitutional Affairs

House of Representatives

Parliament House

CANBERRA ACT 2600

Dear the Hon Mark Dreyfus

Small buildings definition of 300 m2 storey floor area

Please find attached Master Builders Australia's response to the question on Notice to the Standing Committee on Legal & Constitutional Affairs Committee in regard to the small buildings definition of 300m2 storey floor area.

Yours sincerely

Wilhelm Harnisch

Chief Executive Officer

[image: image2.emf]

Where an area, floor size, or storey area greater than 300m2 triggers extra requirements.

BCA

Part A3 - Class lb to Class 3

Classifications
Buildings are classified as follows:

Class 1: one or more buildings which in association constitute-

(b) Class 1b - a boarding house, guest house, hostel or the like-

(i) 
with the total area of all floors not exceeding 300m2 measured over the enclosing walls of the Class lb; and

(ii) 
in which not more than 12 persons would ordinarily be resident.

which is not located above or below another dwelling or other Class of building other than a private garage.

NB: Buildings > 300m2 or with > 12 people resident are classed as Class 3 buildings

and have much more stringent requirements.

......................../ / ……………..

Part E.2 - Smoke Hazard Management, Table E2.2b

Theatres and Public Halls

A building or part of a building used as a theatre or public hall which-

(a) is a school assembly, church or community hall and has a stage and any backstage area with a total floor area of more than 300m2;

must be provided with-

(i) an automatic smoke exhaust system complying with Specification E2.2b;

or

(ii) automatic smoke-and-heat vents complying with Specification E2.2c, if the building is single storey.

......................../ / ……………..

Part E4.2 - Emergency Lighting, Exit Signs and Warning Systems
Emergency Lighting requirements

An emergency lighting system must be installed-

(b) 
in every storey of a Class 5,6,7,8 or 9 building where the storey has a floor area

more than 300m2-

(i) 
in every passageway, corridor, hallway, or the like, that is part of travel to

an exit, and

(ii) 
in any room having a floor area more than 100m2 that does not open to a

corridor or space that has emergency lighting or to a road or open space;

and

(iii) 
in any room having a floor area more than 300m2.
(e)
 in a sole-occupancy unit in a Class 5, 6 or 9 building if-

(i) 
the floor area of the unit is more than 300m2; and

(ii) 
an exit from the unit does not open onto a road or open space or to an

external stairway, passageway, balcony or ramp leading directly to a road

or open space

(f) 
in every room or space to which there is public access in every storey in a Class 6 or 9b building if-
(i) 
the floor area in that storey is more than 300m2 ; or

(ii) 
any point on the floor of that storey is more than 20 m from the nearest doorway leading directly to a stairway, ramp, passageway, road or open space; or

(iii) 
egress from that storey involves a vertical rise within the building of more that 1.5 m, or any vertical rise if the storey does not admit sufficient light;

or

(iv)
the storey provides a path of travel from any other storey required by (i),

(ii) or (iii) to have emergency lighting.
......................../ / ……………..

