# Outcome 1, Output 1.3 						Question: 159

Topic: Air Monitoring

Hansard Page: ECITA 144

- Senator Lundy asked:

So that monitoring did not continue through the night? (Dr Kennedy responds: No, I do not think so. I will check, but that is not my belief).

- Answer:

- Seven overnight tests were conducted in the period between 1914 on 7 February 2003 and 0811 on 8 February 2003. A further six overnight tests were conducted in the period between 1709 on 8 February 2003 and 0820 on 9 February 2003.

Outcome 1, Output 1.3 						Question: 160

Topic: Air Monitoring

Hansard Page:  148

- Senator Lundy asked:

I know that, if you were cleaning at the same time as you were monitoring the air, that could impact upon the monitoring results. So can you tell me if you had air monitoring going on at the same time as the cleaning or how you managed that clean-up process and air monitoring process?

- Answer:

After ducts were cleaned, tests were undertaken. Tests were also undertaken after Gallery spaces were cleaned. In each case “no airborne fibres consistent with Synthetic Mineral Fibres were counted on the filters.”

The clean up process involved appropriately attired contractors, who removed fibreglass particles from the affected air conditioning ducts and Gallery staff who cleaned objects and surfaces in affected public and non-public spaces.

Outcome 1, Output 1.3 						Question: 161

Topic: Air Monitoring

Hansard Page:  150

- Senator Lundy asked:

In terms of the testing of the fibreglass residue found, were there found to be a respirable size of fibre in the fibreglass dust that was cleaned up? Did you do any tests – not on airborne fibre; I know you did those – but on the actual fibre dust that was found in the Gallery?

- Answer:

The Gallery did not undertake any tests on fibreglass or fibre dust. The properties of the fibreglass used in the HVAC system are detailed in the manufacturers material safety data sheet. Tests were undertaken to measure the level, if any, of airborne fibres and the results of these tests were tabled at the Additional Estimates hearings on 11 February 2003.

Outcome 1, Output 1.3 						Question: 162

Topic: Air Monitoring

Hansard Page:  153

- Senator Lundy asked:

Could I ask you in advance of the receipt of that [Comcare] report that it be forwarded to this Committee?

- Answer:

The Gallery will, subject to Comcare’s agreement, release a copy of the Comcare report to the Committee.

Outcome 1, Output 1.3 						Question: 188

Topic: Air Monitoring

Hansard Page:  150

- Senator Lundy asked:

Did Comcare turn it off again? … Under Comcare’s direction?

- Answer:

Yes. Access to the Galleries served by Air Handling Unit 4 (AHU 4) was denied pursuant to Prohibition Notice 2553PN1 on 10 February 2003. Comcare placed a Prohibition Notice 2553PN2 on operating the fan of AHU 4 on 11 February 2003.